## Energy Cost Analysis
Energy Cost Analysis - Audited Power Cost Model
Key Assumptions |  |  | Unit |  | Value (2026) | Value (2036) | Value (2051) | Notes / Source Facts
Arizona Ground Incident Solar Resource |  |  | kWh/m2/day |  | 6.52 | 6.52 | 6.52 | From Sunlight-Analysis File - Winter flat one axis tracking panel (Arizona)
SSO Incident Solar Resource |  |  | kWh/m2/day |  | 32.66 | 32.66 | 32.66 | From Sunlight-Analysis File - Winter 500 km SSO in sun-track
Ground Weather / Environment Factor |  |  | x |  | 0.9 | 0.9 | 0.9 | Arizona winter weather, dust, sand, vegetation, etc.
Firm Solar Battery Duration |  |  | hours |  | 14.4 | 14.4 | 14.4 | 24/7 constant solar+battery storage output: 24h - 9.6h winter collection window.
Space Array Hardware Cost |  |  | $/m2 |  | 330 | 225 | 214 | Optimistic Estimate for light weight, vibe/vacuum/thermal/radiation engineered, extendable, SpaceX/Tesla built panels - 1.5X Ground Installed PV system cost as my reasonable bound
Space Panel Useful Life |  |  | years |  | 5 | 30 | 30 | 5 years assumption for non-modular AI-Sat-Mini due to outdated compute hardware. 30 year assumption for modular solar farm with replaceable compute modules.
Space Battery Req. |  |  | kWh/kW |  | 0 | 0 | 0 | Assuming high altitude SSO, very small battery required, assumed negligable
Sourced Assumptions |  |  | Unit |  | Value (2026) | Value (2036) | Value (2051) | Notes / Source Facts
Source Projection Year |  |  | year |  | 2026 | 2036 | 2050 | 2051 column uses 2050 where source projections stop. SF-ATB.
Ground PV Installed System Cost |  |  | $/m2 |  | 220.1446 | 170.9712 | 142.6948 | Derived from ATB $/kWac, ILR, and module efficiency. SF-ATB-PV/SF-DOE-PV.
Ground PV Fixed O&M |  |  | $/m2-yr |  | 3.1354 | 2.8851 | 2.6671 | Derived from ATB $/kWac-yr and area per kWac. SF-ATB-PV.
Ground PV STC Module Efficiency |  |  | % |  | 20.6% | 26% | 28% | 2026 DOE benchmark; future values are analyst estimates anchored to ATB/ITRPV improvement direction. SF-DOE-PV/SF-ATB-PV.
Ground Panel Effective Efficiency @ 55C |  |  | % |  | 18.75% | 23.66% | 25.48% | Hot-operating effective efficiency after temperature derate.
Ground Temperature Derate Factor |  |  | x |  | 0.91 | 0.91 | 0.91 | Analyst estimate for hot Arizona operation; kept explicit. SF-DOE-PV/SF-ATB-PV.
Ground Panel Degradation |  |  | %/yr |  | 0.7% | 0.5% | 0.2% | ATB degradation pathway: 0.7% base, 0.5% moderate, 0.2% advanced. SF-ATB-PV.
Ground PV Fixed Charge Rate |  |  | %/yr |  | 5.664% | 5.664% | 5.664% | ATB UtilityPV Class 1 R&D 30-year fixed charge rate. SF-ATB-PV.
4h Battery CAPEX Reference |  |  | $/kW |  | 1659.3941 | 1326.6147 | 1035.7717 | ATB 4-hour utility BESS CAPEX reference; firm solar case scales fixed costs by required duration. SF-ATB-BESS.
4h Battery Capital Fixed Cost Reference |  |  | $/kW-yr |  | 58.4982 | 46.7668 | 36.5138 | ATB 4-hour utility BESS capital fixed cost reference; scaled by firm duration. SF-ATB-BESS.
4h Battery Fixed O&M Reference |  |  | $/kW-yr |  | 37.5224 | 29.4962 | 22.4814 | ATB 4-hour utility BESS fixed O&M reference; scaled by firm duration. SF-ATB-BESS.
Ground Battery Round-trip Efficiency |  |  | % |  | 85% | 85% | 85% | ATB representative utility battery RTE; used to gross up PV energy and storage capacity in firm solar+BESS. SF-ATB-BESS.
Space Panel Density |  |  | kg/m2 |  | 2.3 | 2 | 1.8 | Analyst best-case lightweight array density, checked against NASA specific-power context. SF-NASA-POWER.
Space Panel Net Efficiency @ 95C |  |  | % |  | 21% | 24% | 26% | Lowered analyst estimate for SpaceX mass-produced, cost-optimized arrays operating hot in LEO. SF-SPACE-EFFICIENCY.
Space Panel Degradation |  |  | %/yr |  | 1.5% | 1% | 0.7% | Short LEO mission estimate; useful life is constrained by refresh/deorbit rather than theoretical panel life. SF-SPACEX.
Space Battery Storage Cost |  |  | $/kWh |  | 200 | 110 | 80 | Analyst placeholder; unused while Space Battery Req. is zero. SF-ATB-BESS/SF-NASA-POWER.
Power Source LCOE / Cost Benchmarks |  |  | Unit |  | Value (2026) | Value (2036) | Value (2051) | Notes / Source Facts
Nuclear Existing LCOE Proxy |  |  | $/kWh |  | 0.034 | 0.036 | 0.038 | Existing fleet operating-cost proxy; not a new-build LCOE. SF-LAZARD.
Nuclear New Build LCOE |  |  | $/kWh |  | 0.088 | 0.092 | 0.071 | New-build/advanced nuclear benchmark. SF-EIA/SF-ATB.
Nat Gas Existing LCOE Proxy |  |  | $/kWh |  | 0.032 | 0.038 | 0.04 | Existing CCGT operating-cost proxy. SF-LAZARD.
Nat Gas New Build LCOE |  |  | $/kWh |  | 0.077 | 0.07 | 0.065 | New-build combined-cycle benchmark. SF-EIA/SF-LAZARD.
Coal Existing LCOE Proxy |  |  | $/kWh |  | 0.073 | 0.08 | 0.085 | Existing coal operating-cost proxy. SF-LAZARD.
Coal New Build LCOE |  |  | $/kWh |  | 0.122 | 0.115 | 0.105 | Comparative new-build coal value; unlikely U.S. base-case build. SF-EIA/SF-LAZARD.
Wind Existing LCOE Proxy |  |  | $/kWh |  | 0.035 | 0.03 | 0.027 | Existing/new contracted U.S. wind proxy. SF-LAZARD.
Wind New Build LCOE |  |  | $/kWh |  | 0.02981 | 0.025121 | 0.021348 | ATB land-based wind Class 4 Moderate R&D 30-year LCOE. SF-ATB-WIND.
Wind + 4h Battery New Build LCOE |  |  | $/kWh |  | 0.053548 | 0.043344 | 0.035288 | Wind LCOE plus comparable 4-hour BESS cost adder. SF-ATB-WIND/SF-ATB-BESS.
Hydro Existing LCOE Proxy |  |  | $/kWh |  | 0.031825 | 0.031825 | 0.030441 | Hydro existing O&M proxy from ATB FOM and CF, excluding sunk capex. SF-ATB-HYDRO.
Hydro New Build LCOE |  |  | $/kWh |  | 0.098832 | 0.098832 | 0.094764 | ATB Hydropower NPD1 Moderate R&D 30-year LCOE. SF-ATB-HYDRO.
Ground Solar (Arizona) New Build LCOE |  |  | $/kWh |  | 0.042951 | 0.026647 | 0.020273 | Calculated from 6.52 kWh/m2/day resource, efficiency, weather/environment factor, capex, O&M, and FCR.
Ground Solar + Firm Battery (Arizona) New Build LCOE |  |  | $/kWh |  | 0.093923 | 0.06634 | 0.050943 | Calculated PV LCOE plus firm daily-shift BESS sized for 24/7 constant output.
NREL PV+BESS 4h Benchmark (not model driver) |  |  | $/kWh |  | 0.06904 | 0.04996 | 0.04126 | ATB PV+BESS Class 1 4-hour benchmark shown only as cross-check. Not used in break-even formulas. SF-ATB-PVBESS.
China Solar+BESS LCOE (separate) |  |  | $/kWh |  | 0.055 | 0.039 | 0.032 | China-only comparison. Excluded from U.S. cheapest-source logic. SF-IRENA/IEA.
Results |  |  | Unit |  | Value (2026) | Value (2036) | Value (2051) | Notes
Space Solar Cost (after deployment, excl. launch) |  |  | $/kWh |  | 0.027167 | 0.0030213 | 0.0025436 | Power hardware cost divided by lifetime delivered SSO kWh after deployment.
Break Even Launch Cost vs. Ground Solar+Firm Battery (Arizona) |  |  | $/kg |  | 352.5601 | 2357.7382 | 2262.2443 | Launch $/kg that makes orbital power equal calculated Arizona firm solar+BESS.
Break Even Launch Cost vs. Ground Solar+BESS (China) |  |  | $/kg |  | 146.9941 | 1339.7067 | 1376.8221 | China result shown separately; excluded from U.S. cheapest-source logic.
Break Even Launch Cost vs. Cheapest New Build Power Source (US) |  |  | $/kg |  | 139.3248 | 1501.475 | 1530.5178 | Cheapest U.S. new-build LCOE rows only; standalone wind and solar excluded.
Cheapest New Build Power Source (US) |  |  | name |  | Wind+BESS | Wind+BESS | Wind+BESS | China, benchmark-only rows, standalone wind, and standalone solar excluded.
Break Even Launch Cost vs. Cheapest Existing Power Source (US) |  |  | $/kg |  | 24.6002 | 1072.5417 | 1303.9716 | Cheapest U.S. existing-source proxy rows only; standalone wind excluded.
Cheapest Existing Power Source (US) |  |  | name |  | Hydro | Hydro | Hydro | Existing proxies exclude China, new-build rows, and standalone wind.
[9 empty] | Year | Space Solar ($/MWh) | AZ Firm Solar+BESS ($/MWh) | Wind+BESS ($/MWh) | Cheapest Existing US ($/MWh)
[9 empty] | 2026 | 27.1671 | 93.9233 | 53.5478 | 31.8251
[9 empty] | 2036 | 3.0213 | 66.3399 | 43.3444 | 31.8251
[9 empty] | 2051 | 2.5436 | 50.9432 | 35.2882 | 30.4414
Year | Space Solar ($/MWh) | AZ Firm Solar+BESS ($/MWh) | Wind+BESS ($/MWh) | Cheapest Existing US ($/MWh) | Nat Gas New Build ($/MWh)
2026 | 27.1671 | 93.9233 | 53.5478 | 31.8251 | 77
2036 | 3.0213 | 66.3399 | 43.3444 | 31.8251 | 70
2051 | 2.5436 | 50.9432 | 35.2882 | 30.4414 | 65

## TCO Analysis
TCO Analysis - AI Satellite vs. Terrestrial Datacenter
Annualized rack/satellite TCO comparison. User-specific TCO assumptions are intentionally blank; linked power costs flow from the Energy Cost Analysis sheet.
Key Assumptions (AI Satellite) |  |  | Unit |  | Value (2026) |  | Value (2036) |  | Value (2051) | Notes
AI Satellite IT Power |  |  | kW |  | 100 |  | 100 |  | 100 | User input. Satellite and rack power may differ; results normalize to IT kW.
IT Hardware Mass |  |  | kg |  | 500 |  | 500 |  | 500 | User input.
Structural/Cooling Mass |  |  | kg |  | 1000 |  | 800 |  | 600 | User input.
Bus Components Mass |  |  | kg |  | 50 |  | 50 |  | 50 | User input.
Useful Life of IT Hardware |  |  | years |  | 5 |  | 5 |  | 5 | User input.
Useful Life of Bus/Cooling |  |  | years |  | 5 |  | 5 |  | 5 | User input; used for structural/cooling and bus annualization.
Cost of IT Hardware |  |  | $/sat |  | 3840909.0909 |  | 7878787.8788 |  | 19696969.697 | User input.
Cost of Structural/Cooling/Assembly |  |  | $/sat |  | 500000 |  | 300000 |  | 200000 | User input.
Cost of Bus Components |  |  | $/sat |  | 200000 |  | 175000 |  | 150000 | User input.
PUE |  |  | x |  | 1.05 |  | 1.05 |  | 1.05 | User input.
Opex |  |  | $/yr |  | 30000 |  | 25000 |  | 20000 | User input.
Starlink Networking Opportunity Cost |  |  | $/yr |  | 0 |  | 0 |  | 0 | User input.
Launch Cost Assumption |  |  | $/kg |  | 1363 |  | 600 |  | 200 | User input; included in pie-chart TCO, excluded from breakeven formula.
Key Assumptions (Terrestrial Datacenter) |  |  | Unit |  | Value (2026) |  | Value (2036) |  | Value (2051) | Notes
Terrestrial Power Source |  |  | source |  | Nat Gas New Build |  | Nat Gas New Build |  | Nat Gas New Build | Dropdown. Selected source drives terrestrial power LCOE.
Terrestrial Rack IT Power |  |  | kW |  | 132 |  | 132 |  | 132 | User input. May differ from satellite IT power.
PUE |  |  | x |  | 1.1 |  | 1.08 |  | 1.06 | User input.
Datacenter Costs |  |  | $/rack |  | 1320000 |  | 1250000 |  | 1200000 | User input; excludes IT hardware and cooling hardware to avoid double-counting.
Useful Life of Datacenter |  |  | years |  | 30 |  | 30 |  | 30 | User input.
Cooling Costs |  |  | $/rack |  | 250000 |  | 180000 |  | 150000 | User input.
Useful Life of Cooling Hardware |  |  | years |  | 10 |  | 10 |  | 10 | User input.
Opex |  |  | $/yr |  | 90000 |  | 80000 |  | 70000 | User input.
Cost of IT Hardware |  |  | $/rack |  | 3900000 |  | 8000000 |  | 20000000 | User input.
Useful Life of IT Hardware |  |  | years |  | 5 |  | 5 |  | 5 | User input.
Derived / Linked Assumptions |  |  | Unit |  | Value (2026) |  | Value (2036) |  | Value (2051) | Notes / Source
Selected Terrestrial Power LCOE |  |  | $/kWh |  | 0.077 |  | 0.07 |  | 0.065 | Selected by terrestrial power-source dropdown.
Space Solar Cost excl. Launch |  |  | $/kWh |  | 0.027167 |  | 0.0030213 |  | 0.0025436 | Linked from Energy Cost Analysis row 63.
Space Panel Density |  |  | kg/m2 |  | 2.3 |  | 2 |  | 1.8 | Linked from Energy Cost Analysis row 34.
Space Power Useful Life |  |  | years |  | 5 |  | 30 |  | 30 | Linked from Energy Cost Analysis row 15.
Space Panel Net Efficiency |  |  | % |  | 21% |  | 24% |  | 26% | Linked from Energy Cost Analysis row 35.
SSO Incident Solar Resource |  |  | kWh/m2/day |  | 32.66 |  | 32.66 |  | 32.66 | Linked from Energy Cost Analysis row 11.
Satellite Facility Power incl. PUE |  |  | kW |  | 105 |  | 105 |  | 105 | Satellite IT load grossed up by PUE.
Satellite Solar Array Area Required |  |  | m2 |  | 367.4219 |  | 321.4942 |  | 296.7639 | Average power area from SSO daily incident energy and panel net efficiency.
Space Power Hardware Mass |  |  | kg |  | 845.0704 |  | 642.9884 |  | 534.1749 | Solar-array mass needed for launch mass annualization.
Satellite Total Launch Mass |  |  | kg |  | 2395.0704 |  | 1992.9884 |  | 1684.1749 | IT + structural/cooling + bus + derived power hardware mass.
Annualized Launch Mass |  |  | kg/yr |  | 479.0141 |  | 291.4329 |  | 247.8058 | Replacement-rate launch mass; power hardware uses linked space power useful life.
Satellite Annual Energy Use |  |  | kWh/yr |  | 919800 |  | 919800 |  | 919800 | Satellite facility power times 8,760.
Terrestrial Facility Power incl. PUE |  |  | kW |  | 145.2 |  | 142.56 |  | 139.92 | Rack IT load grossed up by PUE.
Terrestrial Annual Energy Use |  |  | kWh/yr |  | 1271952 |  | 1248825.6 |  | 1225699.2 | Terrestrial facility power times 8,760.
Satellite Power Cost excl. Launch |  |  | $/yr |  | 24988.3363 |  | 2778.9587 |  | 2339.575 | Uses linked space solar LCOE excluding launch.
Terrestrial Selected Power Cost |  |  | $/yr |  | 97940.304 |  | 87417.792 |  | 79670.448 | Uses selected terrestrial power-source LCOE.
Satellite Launch Cost @ Assumption |  |  | $/yr |  | 652896.1972 |  | 174859.7673 |  | 49561.1663 | Included in pie chart TCO only when launch input is filled.
Satellite Annual TCO excl. Launch |  |  | $/yr |  | 963170.1545 |  | 1698536.5345 |  | 4031733.5144 | Used for breakeven launch cost; excludes launch assumption.
Satellite Annual TCO incl. Launch |  |  | $/yr |  | 1616066.3517 |  | 1873396.3018 |  | 4081294.6808 | Shown beside satellite pie charts.
Terrestrial Annual TCO |  |  | $/yr |  | 1036940.304 |  | 1827084.4587 |  | 4204670.448 | Shown beside terrestrial pie charts.
Results |  |  | Unit |  | Value (2026) |  | Value (2036) |  | Value (2051) | Notes
Satellite Total Annual TCO incl. Launch |  |  | $/yr |  | 1616066.3517 |  | 1873396.3018 |  | 4081294.6808 | Includes launch cost assumption.
Satellite TCO incl. Launch |  |  | $/IT kW-yr |  | 16160.6635 |  | 18733.963 |  | 40812.9468 | Normalized by satellite IT power.
Satellite TCO incl. Launch |  |  | $/W-yr |  | 16.1607 |  | 18.734 |  | 40.8129 | Normalized by satellite IT watts.
Terrestrial Total Annual TCO |  |  | $/yr |  | 1036940.304 |  | 1827084.4587 |  | 4204670.448 | Annualized rack/datacenter TCO.
Terrestrial TCO |  |  | $/IT kW-yr |  | 7855.6084 |  | 13841.5489 |  | 31853.564 | Normalized by terrestrial rack IT power.
Terrestrial TCO |  |  | $/W-yr |  | 7.8556 |  | 13.8415 |  | 31.8536 | Normalized by terrestrial rack IT watts.
Breakeven Launch Cost excl. Launch Assumption (full TCO) |  |  | $/kg |  | -370.781 |  | -1078.7443 |  | -3415.4851 | Can be negative; compares full annualized terrestrial TCO vs. satellite TCO excluding launch on a normalized IT-kW basis.
Satellite Chart Status |  |  | status |  | Ready |  | Ready |  | Ready | Pie chart uses a neutral pending slice until all incl.-launch inputs are filled.
Terrestrial Chart Status |  |  | status |  | Ready |  | Ready |  | Ready | Pie chart uses a neutral pending slice until all terrestrial inputs are filled.
TCO Pie Charts and Total Costs
[5 empty] | AI Satellite TCO - 2026 | AI Satellite TCO - 2026 | AI Satellite TCO - 2026 |  |  |  | Terrestrial Datacenter TCO - 2026 | Terrestrial Datacenter TCO - 2026 | Terrestrial Datacenter TCO - 2026
[5 empty] | Total Annual TCO incl. Launch |  | 1616066.3517 |  |  |  | Total Annual TCO |  | 1036940.304
[5 empty] | $/IT kW-year |  | 16160.6635 |  |  |  | $/IT kW-year |  | 7855.6084
[5 empty] | $/W-year |  | 16.1607 |  |  |  | $/W-year |  | 7.8556
[5 empty] | Launch Assumption |  | 1363 |  |  |  | Power Source |  | Nat Gas New Build
[5 empty] | Breakeven Launch Cost (full TCO) | Breakeven Launch Cost (full TCO) | -370.781 |  |  |  | Power LCOE |  | 0.077
[5 empty] | Status |  | Ready |  |  |  | Status |  | Ready
[5 empty] | AI Satellite TCO - 2036 | AI Satellite TCO - 2036 | AI Satellite TCO - 2036 |  |  |  | Terrestrial Datacenter TCO - 2036 | Terrestrial Datacenter TCO - 2036 | Terrestrial Datacenter TCO - 2036
[5 empty] | Total Annual TCO incl. Launch |  | 1873396.3018 |  |  |  | Total Annual TCO |  | 1827084.4587
[5 empty] | $/IT kW-year |  | 18733.963 |  |  |  | $/IT kW-year |  | 13841.5489
[5 empty] | $/W-year |  | 18.734 |  |  |  | $/W-year |  | 13.8415
[5 empty] | Launch Assumption |  | 600 |  |  |  | Power Source |  | Nat Gas New Build
[5 empty] | Breakeven Launch Cost (full TCO) | Breakeven Launch Cost (full TCO) | -1078.7443 |  |  |  | Power LCOE |  | 0.07
[5 empty] | Status |  | Ready |  |  |  | Status |  | Ready
[5 empty] | AI Satellite TCO - 2051 | AI Satellite TCO - 2051 | AI Satellite TCO - 2051 |  |  |  | Terrestrial Datacenter TCO - 2051 | Terrestrial Datacenter TCO - 2051 | Terrestrial Datacenter TCO - 2051
[5 empty] | Total Annual TCO incl. Launch |  | 4081294.6808 |  |  |  | Total Annual TCO |  | 4204670.448
[5 empty] | $/IT kW-year |  | 40812.9468 |  |  |  | $/IT kW-year |  | 31853.564
[5 empty] | $/W-year |  | 40.8129 |  |  |  | $/W-year |  | 31.8536
[5 empty] | Launch Assumption |  | 200 |  |  |  | Power Source |  | Nat Gas New Build
[5 empty] | Breakeven Launch Cost (full TCO) | Breakeven Launch Cost (full TCO) | -3415.4851 |  |  |  | Power LCOE |  | 0.065
[5 empty] | Status |  | Ready |  |  |  | Status |  | Ready
TCO Source / Audit Notes
User TCO inputs |  |  | Blank / User-filled | [6 empty] | Rack/satellite TCO assumptions remain user inputs; existing entries are preserved.
Power source dropdown |  |  | Dropdown | [6 empty] | Terrestrial Power Source uses an Excel list validation backed by the options table below the dashboard.
TCO breakeven |  |  | Full TCO | [6 empty] | Breakeven launch can be negative and compares full annualized TCO excluding launch, not power cost alone.
TCO chart rebuild |  |  | Filled years | [6 empty] | v013 rebuilds all 2026/2036/2051 TCO pie source ranges from current filled assumptions.
TCO Chart Source Data | TCO Chart Source Data | TCO Chart Source Data | TCO Chart Source Data | TCO Chart Source Data |  | Power Source | 2026 LCOE | 2036 LCOE | 2051 LCOE
[6 empty] | Cheapest New Build (US) | 0.053548 | 0.043344 | 0.035288
Category | Annual Cost |  | Category | Annual Cost |  | Cheapest Existing (US) | 0.031825 | 0.031825 | 0.030441
IT Hardware | 768181.8182 |  | IT Hardware | 780000 |  | Nuclear Existing | 0.034 | 0.036 | 0.038
Struct/Cooling | 100000 |  | Datacenter Facility | 44000 |  | Nuclear New Build | 0.088 | 0.092 | 0.071
Bus Components | 40000 |  | Cooling Hardware | 25000 |  | Nat Gas Existing | 0.032 | 0.038 | 0.04
Space Power | 255354.5335 |  | Nat Gas New Build | 97940.304 |  | Nat Gas New Build | 0.077 | 0.07 | 0.065
Opex | 30000 |  | Opex | 90000 |  | Coal Existing | 0.073 | 0.08 | 0.085
Networking Opp. | 0 |  |  |  |  | Coal New Build | 0.122 | 0.115 | 0.105
Launch Costs Ex. Power | 422530 |  |  |  |  | Wind Existing | 0.035 | 0.03 | 0.027
[6 empty] | Wind New Build | 0.02981 | 0.025121 | 0.021348
[6 empty] | Wind + 4h Battery New Build | 0.053548 | 0.043344 | 0.035288
[6 empty] | Hydro Existing | 0.031825 | 0.031825 | 0.030441
[6 empty] | Hydro New Build | 0.098832 | 0.098832 | 0.094764
Category | Annual Cost |  | Category | Annual Cost |  | Ground Solar (Arizona) New Build | 0.042951 | 0.026647 | 0.020273
IT Hardware | 1575757.5758 |  | IT Hardware | 1600000 |  | Ground Solar + Firm Battery (Arizona) New Build | 0.093923 | 0.06634 | 0.050943
Struct/Cooling | 60000 |  | Datacenter Facility | 41666.6667 |  | China Solar+BESS (separate) | 0.055 | 0.039 | 0.032
Bus Components | 35000 |  | Cooling Hardware | 18000
Space Power | 15638.726 |  | Nat Gas New Build | 87417.792
Opex | 25000 |  | Opex | 80000
Networking Opp. | 0
Launch Costs Ex. Power | 162000
Category | Annual Cost |  | Category | Annual Cost
IT Hardware | 3939393.9394 |  | IT Hardware | 4000000
Struct/Cooling | 40000 |  | Datacenter Facility | 40000
Bus Components | 30000 |  | Cooling Hardware | 15000
Space Power | 5900.7414 |  | Nat Gas New Build | 79670.448
Opex | 20000 |  | Opex | 70000
Networking Opp. | 0
Launch Costs Ex. Power | 46000

## Revenue and Profit
Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model | Revenue and Profit - Per Watt-Year Scenario Model
Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins. | Blank yellow cells are user inputs. Derived outputs stay pending until required assumptions are filled. All margins are net margins.
Linked Cost Input |  |  | Unit |  | Value (2026) |  | Value (2036) |  | Value (2051) | Notes
Satellite TCO incl. Launch |  |  | $/W-yr |  | 16.1607 |  | 18.734 |  | 40.8129 | Linked from TCO Analysis: satellite TCO incl. launch.
Terrestrial TCO |  |  | $/W-yr |  | 7.8556 |  | 13.8415 |  | 31.8536 | Linked from TCO Analysis: terrestrial datacenter TCO.
Terrestrial IT Hardware Cost |  |  | $/W-yr |  | 5.9091 |  | 12.1212 |  | 30.303 | Annualized terrestrial IT hardware cost divided by rack IT watts.
Terrestrial Power Source |  |  | source |  | Nat Gas New Build |  | Nat Gas New Build |  | Nat Gas New Build | Selected power source from TCO Analysis.
Output Basis |  |  | basis |  | per watt-year |  | per watt-year |  | per watt-year | All revenue, expense, and profit rows are shown per watt-year.
xAI + Space Datacenter vs Frontier Lab + Hyperscaler
Assumption / Metric |  |  | Unit |  | Value (2026) |  | Value (2036) |  | Value (2051) | Notes
Frontier Lab Net Margin |  |  | % |  | -70% |  | 10% |  | 30% | User input; net margin, not gross margin.
Cloud Provider Net Margin |  |  | % |  | 30% |  | 30% |  | 30% | User input; net margin for hyperscaler/cloud provider. It affects the frontier lab revenue benchmark, but xAI still does not pay hyperscaler expense.
xAI Revenue Multiplier vs Frontier Lab |  |  | x |  | 1 |  | 1 |  | 1 | User input; xAI revenue per W-year vs frontier lab revenue after hyperscaler/cloud markup.
Status |  |  | status |  | Ready |  | Ready |  | Ready | Ready once all section inputs are filled and margins are below 100%.
Cloud Inference Price |  |  | $/W-yr |  | 11.2223 |  | 19.7736 |  | 45.5051 | Price paid by the frontier lab to the hyperscaler/cloud provider.
Frontier Lab Revenue |  |  | $/W-yr |  | 6.6014 |  | 21.9707 |  | 65.0073 | End-customer frontier lab revenue after paying hyperscaler/cloud costs and lab net margin.
Frontier Lab Expense |  |  | $/W-yr |  | 11.2223 |  | 19.7736 |  | 45.5051 | Inference spend paid to hyperscaler/cloud provider.
Frontier Lab Profit |  |  | $/W-yr |  | -4.6209 |  | 2.1971 |  | 19.5022 | Revenue less inference spend.
xAI + Space Datacenter Revenue |  |  | $/W-yr |  | 6.6014 |  | 21.9707 |  | 65.0073 | xAI revenue equals frontier lab revenue times the xAI multiplier; hyperscaler margin affects market revenue, not xAI expense.
xAI + Space Datacenter Expense |  |  | $/W-yr |  | 16.1607 |  | 18.734 |  | 40.8129 | Satellite TCO incl. launch.
xAI + Space Datacenter Profit |  |  | $/W-yr |  | -9.5593 |  | 3.2367 |  | 24.1943 | Revenue less satellite TCO.
xAI + Space Datacenter Profit Advantage |  |  | $/W-yr |  | -4.9384 |  | 1.0397 |  | 4.6921 | xAI profit less frontier lab profit.
xAI + Space Datacenter vs Surveillance Network Space Datacenter
Assumption / Metric |  |  | Unit |  | Value (2026) |  | Value (2036) |  | Value (2051) | Notes
Surveillance Revenue Multiplier vs xAI |  |  | x |  | 3 |  |  |  |  | User input; surveillance network revenue per W-year vs xAI.
Status |  |  | status |  | Ready |  | Inputs pending |  | Inputs pending | Ready once Section 1 and surveillance multiplier are filled.
xAI + Space Datacenter Revenue |  |  | $/W-yr |  | 6.6014 |  | Inputs pending |  | Inputs pending | Reuses Section 1 xAI revenue.
xAI + Space Datacenter Expense |  |  | $/W-yr |  | 16.1607 |  | Inputs pending |  | Inputs pending | Satellite TCO incl. launch.
xAI + Space Datacenter Profit |  |  | $/W-yr |  | -9.5593 |  | Inputs pending |  | Inputs pending | Reuses Section 1 xAI profit.
Surveillance Network Revenue |  |  | $/W-yr |  | 19.8041 |  | Inputs pending |  | Inputs pending | xAI revenue times surveillance revenue multiplier.
Surveillance Network Expense |  |  | $/W-yr |  | 16.1607 |  | Inputs pending |  | Inputs pending | Satellite TCO incl. launch.
Surveillance Network Profit |  |  | $/W-yr |  | 3.6434 |  | Inputs pending |  | Inputs pending | Revenue less satellite TCO.
Surveillance Profit Advantage |  |  | $/W-yr |  | 13.2027 |  | Inputs pending |  | Inputs pending | Surveillance profit less xAI profit.
3. xAI + Custom Silicon vs Cloud Provider (Nvidia COGS)
Assumption / Metric |  |  | Unit |  | Value (2026) |  | Value (2036) |  | Value (2051) | Notes
Cloud Provider Net Margin |  |  | % |  | 30% |  | 30% |  | 30% | User input; cloud provider net margin.
Nvidia Net Margin |  |  | % |  | 55% |  | 55% |  | 55% | User input; Nvidia net margin.
Custom Silicon Revenue-per-IT-Cost Multiplier |  |  | x |  | 1.05 |  | 0.65 |  | 0.6 | User input; custom silicon revenue per IT-cost dollar vs Nvidia.
Status |  |  | status |  | Ready |  | Ready |  | Ready | Ready once section inputs are filled and margins are below 100%.
Cloud Provider Revenue |  |  | $/W-yr |  | 15.8652 |  | 29.2975 |  | 69.3146 | Supplier-inclusive terrestrial TCO grossed up by cloud provider net margin.
Cloud Provider Profit at Selected Margin |  |  | $/W-yr |  | 4.7595 |  | 8.7892 |  | 20.7944 | Cloud profit equals cloud revenue times the selected cloud provider net margin.
Nvidia Hardware Spend |  |  | $/W-yr |  | 5.9091 |  | 12.1212 |  | 30.303 | Annualized terrestrial IT hardware cost per W-year.
Nvidia Margin Burden |  |  | $/W-yr |  | 3.25 |  | 6.6667 |  | 16.6667 | Nvidia net margin embedded in hardware spend; raises the market revenue benchmark.
Cloud Provider Profit |  |  | $/W-yr |  | 4.7595 |  | 8.7892 |  | 20.7944 | Cloud provider profit using the selected cloud net margin.
Cloud Provider Expense incl. Nvidia |  |  | $/W-yr |  | 11.1056 |  | 20.5082 |  | 48.5202 | Terrestrial TCO plus Nvidia margin burden.
xAI Custom Silicon Revenue |  |  | $/W-yr |  | 16.6584 |  | 19.0433 |  | 41.5888 | Supplier-inclusive cloud revenue times custom silicon revenue-per-IT-cost multiplier.
xAI Custom Silicon Expense |  |  | $/W-yr |  | 16.1607 |  | 18.734 |  | 40.8129 | Satellite TCO incl. launch.
xAI Custom Silicon Profit |  |  | $/W-yr |  | 0.49775 |  | 0.30938 |  | 0.77582 | Revenue less satellite TCO.
xAI Custom Profit Advantage vs Cloud |  |  | $/W-yr |  | -4.2618 |  | -8.4799 |  | -20.0186 | xAI custom-silicon profit less cloud-provider profit.
4. SpaceX Full Stack vs Cloud Provider (Nvidia + TSMC COGS)
Assumption / Metric |  |  | Unit |  | Value (2026) |  | Value (2036) |  | Value (2051) | Notes
Cloud Provider Net Margin |  |  | % |  | 30% |  | 30% |  | 30% | User input; cloud provider net margin.
Nvidia Net Margin |  |  | % |  | 55% |  | 55% |  | 55% | User input; Nvidia net margin.
TSMC Net Margin |  |  | % |  | 40% |  | 40% |  | 40% | User input; TSMC net margin.
SpaceX Revenue-per-IT-Cost Multiplier |  |  | x |  | 0.95 |  | 0.6 |  | 0.55 | User input; SpaceX revenue per IT-cost dollar, same type of multiplier as Section 3.
Status |  |  | status |  | Ready |  | Ready |  | Ready | Ready once section inputs are filled and margins are below 100%.
Cloud Provider Revenue |  |  | $/W-yr |  | 17.3846 |  | 32.4143 |  | 77.1068 | Supplier-inclusive terrestrial TCO grossed up by cloud provider net margin.
Cloud Provider Profit at Selected Margin |  |  | $/W-yr |  | 5.2154 |  | 9.7243 |  | 23.132 | Cloud profit equals cloud revenue times the selected cloud provider net margin.
Nvidia Hardware Spend |  |  | $/W-yr |  | 5.9091 |  | 12.1212 |  | 30.303 | Annualized terrestrial IT hardware cost per W-year.
Nvidia Margin Burden |  |  | $/W-yr |  | 3.25 |  | 6.6667 |  | 16.6667 | Nvidia net margin embedded in hardware spend; raises the market revenue benchmark.
TSMC Revenue Proxy |  |  | $/W-yr |  | 2.6591 |  | 5.4545 |  | 13.6364 | Nvidia post-margin expense used as the TSMC-stage revenue proxy.
TSMC Margin Burden |  |  | $/W-yr |  | 1.0636 |  | 2.1818 |  | 5.4545 | TSMC net margin embedded in the silicon supply chain; raises the market revenue benchmark.
Cloud Provider Profit |  |  | $/W-yr |  | 5.2154 |  | 9.7243 |  | 23.132 | Cloud provider profit using the selected cloud net margin.
Cloud Provider Expense incl. Nvidia + TSMC |  |  | $/W-yr |  | 12.1692 |  | 22.69 |  | 53.9748 | Terrestrial TCO plus Nvidia and TSMC margin burdens.
SpaceX Full-Stack Revenue |  |  | $/W-yr |  | 16.5154 |  | 19.4486 |  | 42.4088 | Supplier-inclusive cloud revenue times SpaceX revenue-per-IT-cost multiplier.
SpaceX Full-Stack Expense |  |  | $/W-yr |  | 16.1607 |  | 18.734 |  | 40.8129 | Satellite TCO incl. launch.
SpaceX Full-Stack Profit |  |  | $/W-yr |  | 0.35474 |  | 0.71464 |  | 1.5958 | Revenue less satellite TCO.
SpaceX Profit Advantage vs Cloud |  |  | $/W-yr |  | -4.8607 |  | -9.0097 |  | -21.5362 | SpaceX full-stack profit less cloud-provider profit.
Chart Helper Data | Chart Helper Data | Chart Helper Data | Chart Helper Data | Chart Helper Data | Chart Helper Data | Chart Helper Data | Chart Helper Data | Chart Helper Data | Chart Helper Data | Chart Helper Data
Scenario | Revenue | Expense | Profit | Loss | Scenario | Revenue | Expense | Profit | Loss
2026 xAI + Space DC | 6.6014 | 16.1607 |  | -9.5593 | 2026 xAI + Space DC | 6.6014 | 16.1607 |  | -9.5593
2026 Frontier Lab | 6.6014 | 11.2223 |  | -4.6209 | 2026 Surveillance | 19.8041 | 16.1607 | 3.6434
2036 xAI + Space DC | 21.9707 | 18.734 | 3.2367 |  | 2036 xAI + Space DC
2036 Frontier Lab | 21.9707 | 19.7736 | 2.1971 |  | 2036 Surveillance
2051 xAI + Space DC | 65.0073 | 40.8129 | 24.1943 |  | 2051 xAI + Space DC
2051 Frontier Lab | 65.0073 | 45.5051 | 19.5022 |  | 2051 Surveillance
Scenario | Revenue | Expense | Profit | Loss | Scenario | Revenue | Expense | Profit | Loss
2026 xAI Custom | 16.6584 | 16.1607 | 0.49775 |  | 2026 SpaceX | 16.5154 | 16.1607 | 0.35474
2026 Cloud Provider | 15.8652 | 11.1056 | 4.7595 |  | 2026 Cloud Provider | 17.3846 | 12.1692 | 5.2154
2036 xAI Custom | 19.0433 | 18.734 | 0.30938 |  | 2036 SpaceX | 19.4486 | 18.734 | 0.71464
2036 Cloud Provider | 29.2975 | 20.5082 | 8.7892 |  | 2036 Cloud Provider | 32.4143 | 22.69 | 9.7243
2051 xAI Custom | 41.5888 | 40.8129 | 0.77582 |  | 2051 SpaceX | 42.4088 | 40.8129 | 1.5958
2051 Cloud Provider | 69.3146 | 48.5202 | 20.7944 |  | 2051 Cloud Provider | 77.1068 | 53.9748 | 23.132

## Model Detail
Model Detail - Physical Energy and LCOE Logic
Metric | Unit | 2026 | 2036 | 2051 | Notes
Source projection year | year | 2026 | 2036 | 2050 | 2051 uses 2050 endpoint. | Nuclear | Nat Gas | Coal | Wind+BESS | Hydro | Solar+BESS | Nuclear | Nat Gas | Coal | Hydro
Ground incident energy | kWh/m2/day | 6.52 | 6.52 | 6.52 | Linked from main assumptions. | 0.088 | 0.077 | 0.122 | 0.053548 | 0.098832 | 0.093923 | 0.034 | 0.032 | 0.073 | 0.031825
Solar power advantage | x | 5.0092 | 5.0092 | 5.0092 | Linked from main assumptions. | 0.092 | 0.07 | 0.115 | 0.043344 | 0.098832 | 0.06634 | 0.036 | 0.038 | 0.08 | 0.031825
SSO incident energy | kWh/m2/day | 32.66 | 32.66 | 32.66 | Ground incident x solar power advantage. | 0.071 | 0.065 | 0.105 | 0.035288 | 0.094764 | 0.050943 | 0.038 | 0.04 | 0.085 | 0.030441
PV ILR | DC/AC | 1.34 | 1.34 | 1.34 | ATB utility PV ILR.
PV STC module efficiency | % | 20.6% | 26% | 28% | Linked from main assumptions.
Area per kWac | m2/kWac | 6.5049 | 5.1538 | 4.7857 | ILR / STC module efficiency.
PV capex | $/kWac | 1432.0088 | 881.1595 | 682.8964 | ATB UtilityPV Class 1 CAPEX.
PV installed system cost | $/m2 | 220.1446 | 170.9712 | 142.6948 | PV capex / area per kWac.
PV FOM | $/kWac-yr | 20.3953 | 14.8693 | 12.7638 | ATB UtilityPV Class 1 fixed O&M.
PV FOM | $/m2-yr | 3.1354 | 2.8851 | 2.6671 | PV FOM / area per kWac.
Ground hot efficiency | % | 18.75% | 23.66% | 25.48% | Linked from main assumptions.
Ground degradation | %/yr | 0.7% | 0.5% | 0.2% | Linked from main assumptions.
Ground avg degradation factor | x | 90.48% | 93.08% | 97.15% | Geometric average over 30-year ATB cost recovery life.
Ground weather/environment factor | x | 90% | 90% | 90% | Linked from key assumptions; captures weather, dust, wind, and other site losses.
Ground annual delivered electricity | kWh/m2-yr | 363.2939 | 471.673 | 530.2009 | 6.52 x 365 x hot efficiency x weather/environment factor x degradation factor.
PV FCR | %/yr | 5.664% | 5.664% | 5.664% | Linked from main assumptions.
Ground PV calculated LCOE | $/kWh | 0.042951 | 0.026647 | 0.020273 | (capex x FCR + FOM) / annual delivered kWh/m2.
ATB PV benchmark LCOE | $/kWh | 0.03598 | 0.021797 | 0.016455 | Placeholder row overwritten below.
Firm solar battery duration | hours | 14.4 | 14.4 | 14.4 | Daily-shift storage duration for 24/7 constant solar+BESS output.
4h battery CAPEX reference | $/kW | 1659.3941 | 1326.6147 | 1035.7717 | Linked from main assumptions.
4h battery CFC reference | $/kW-yr | 58.4982 | 46.7668 | 36.5138 | Linked from main assumptions.
4h battery FOM reference | $/kW-yr | 37.5224 | 29.4962 | 22.4814 | Linked from main assumptions.
PV annual kWh per kWac | kWh/kWac-yr | 2363.1741 | 2430.9302 | 2537.3899 | Ground annual kWh/m2 x area per kWac.
Firm BESS cost adder on solar | $/kWh | 0.046424 | 0.036872 | 0.028523 | 4-hour ATB battery fixed cost scaled to firm battery duration and RTE.
Ground Solar+Firm Battery calculated LCOE | $/kWh | 0.093923 | 0.06634 | 0.050943 | PV LCOE grossed up for storage losses plus firm BESS cost adder.
Wind new-build LCOE | $/kWh | 0.02981 | 0.025121 | 0.021348 | ATB land-based wind Class 4.
Wind capacity factor | % | 46.18% | 47.77% | 48.31% | ATB land-based wind Class 4.
BESS cost adder on wind | $/kWh | 0.023737 | 0.018223 | 0.01394 | (battery CFC + FOM) / wind annual kWh per kW.
Wind+BESS calculated LCOE | $/kWh | 0.053548 | 0.043344 | 0.035288 | Wind LCOE + BESS cost adder.
Hydro FOM | $/kW-yr | 92 | 92 | 88 | ATB Hydropower NPD1 FOM.
Hydro CF | % | 33% | 33% | 33% | ATB Hydropower NPD1 CF.
Hydro existing proxy | $/kWh | 0.031825 | 0.031825 | 0.030441 | Hydro FOM / annual kWh per kW.
Existing source 1 | name | Nuclear | Nuclear | Nuclear | Helper block below supplies cheapest existing.
Cheapest existing US LCOE | $/kWh | 0.031825 | 0.031825 | 0.030441 | Minimum of U.S. existing proxies only; excludes standalone wind/solar.
Cheapest new-build US LCOE | $/kWh | 0.053548 | 0.043344 | 0.035288 | Minimum of U.S. new-build LCOE rows only; excludes standalone wind/solar.
Space array cost | $/m2 | 330 | 225 | 214 | Linked from main assumptions.
Space battery requirement | kWh/kW | 0 | 0 | 0 | Linked from main assumptions.
Space battery cost | $/kWh | 200 | 110 | 80 | Linked from main assumptions.
Space panel density | kg/m2 | 2.3 | 2 | 1.8 | Linked from main assumptions.
Space net efficiency | % | 21% | 24% | 26% | Linked from main assumptions.
Space degradation | %/yr | 1.5% | 1% | 0.7% | Linked from main assumptions.
Space useful life | years | 5 | 30 | 30 | Linked from main assumptions.
Space avg degradation factor | x | 97.04% | 86.77% | 90.48% | Geometric average over useful life.
Space lifetime delivered electricity | kWh/m2 | 12147.0272 | 74472.1397 | 84133.7407 | SSO incident x 365 x net efficiency x life x degradation factor.
Space battery cost component | $/m2 | 0 | 0 | 0 | Only applies if battery requirement is nonzero.
Space non-launch LCOE | $/kWh | 0.027167 | 0.0030213 | 0.0025436 | Power hardware cost / lifetime SSO delivered electricity.
BE launch vs Arizona firm solar+BESS | $/kg | 352.5601 | 2357.7382 | 2262.2443 | Uses space density and lifetime kWh per m2.
BE launch vs China solar+BESS | $/kg | 146.9941 | 1339.7067 | 1376.8221 | China separate result.
BE launch vs cheapest new-build US | $/kg | 139.3248 | 1501.475 | 1530.5178 | China excluded.
Cheapest new-build US source | name | Wind+BESS | Wind+BESS | Wind+BESS | Helper result.
BE launch vs cheapest existing US | $/kg | 24.6002 | 1072.5417 | 1303.9716 | China/new build excluded.
Cheapest existing US source | name | Hydro | Hydro | Hydro | Helper result.

## Source Facts
Source Facts
Fact ID | Source | URL / Path | Short Quote / Row Excerpt | Used For | Type | Confidence
SF-USER-GROUND | User instruction in this thread | Conversation | change the winter number to 6.52 kWh/m2/day | Ground incident solar resource | User-provided | High
SF-USER-SSO | User instruction in this thread | Conversation | for the SSO it should be 32.66 kWh/m^2/day | SSO incident solar resource | User-provided | High
SF-DERIVED-ADVANTAGE | Derived from user resource inputs | Conversation | 32.66 / 6.52 = 5.009x | Solar power advantage | Derived | High
SF-USER-FIRM-STORAGE | User instruction in this thread | Conversation + local winter analysis | solar + batteries should handle consistent power by itself | Firm solar+BESS storage duration | User-directed model change | Medium
SF-USER-ENV-FACTOR | User instruction in this thread | Conversation | user defined weather/environment degradation factor for weather/dust/wind etc. | Ground weather/environment factor | User-defined model input | Medium
SF-USER-SPACE-COST | User instruction in this thread | Conversation | Key Assumptions... Space Array Hardware Cost | Space array hardware cost | User-defined model input | Medium
SF-USER-SPACE-LIFE | User instruction in this thread | Conversation | Key Assumptions... Space Useful life at each year | Space useful life | User-defined model input | High
SF-USER-SPACE-BATTERY | User instruction in this thread | Conversation | user define Space battery req. as zero | Space battery requirement | User-defined model input | High
SF-SPACE-EFFICIENCY | Analyst estimate from NASA/SpaceX context | Conversation + NASA SmallSat Power | lower efficiency for the space panels since SpaceX mass produces these | Space panel net efficiency | Analyst estimate | Medium
SF-ATB-PV | NREL ATB 2024b Utility-Scale PV | https://atb.nrel.gov/electricity/2024b/utility-scale_pv | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | PV CAPEX, FOM, CF, FCR, degradation | Direct dataset + quote | High
SF-DOE-PV | DOE PV System Cost Benchmarks | https://www.energy.gov/cmei/systems/solar-photovoltaic-system-cost-benchmarks | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. | 2026 module area/power/efficiency | Direct quote | High
SF-ATB-BESS | NREL ATB Utility-Scale Battery Storage | https://atb.nrel.gov/electricity/2024/2023/utility-scale_battery_storage | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | 4-hour BESS CAPEX, CFC, O&M, RTE | Direct dataset + quote | High
SF-ATB-WIND | NREL ATB 2024b Land-Based Wind | https://atb.nrel.gov/electricity/2024b/land-based_wind | Wind Speed Class 4 is indicative of a moderate-quality wind regime. | Wind Class 4 LCOE and CF | Direct dataset + quote | High
SF-ATB-HYDRO | NREL ATB 2024b Hydropower | https://atb.nrel.gov/electricity/2024b/hydropower | Capacity factor represents expected annual average energy production divided by rated full output. | Hydro LCOE, FOM, CF | Direct dataset + quote | High
SF-NASA-POWER | NASA SmallSat State of the Art: Power | https://www.nasa.gov/smallsat-institute/sst-soa/power-subsystems/ | Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. | Space efficiency, density, qualification context only | Direct quote; no dollar cost | Medium
SF-SPACEX | SpaceX Gen2 Starlink Satellites PDF | https://www.starlink.com/public-files/Gen2StarlinkSatellites.pdf | V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. | V2 Mini capability and life/deorbit context | Direct quote | High
SF-NSE | New Space Economy Starlink manufacturing estimate | https://newspaceeconomy.ca/2026/04/13/the-satellite-manufacturing-market-after-starlink-how-mass-production-changed-the-economics-of-building-spacecraft/ | V2 Mini manufacturing costs have been driven toward approximately $400,000 per unit. | Space array cost estimate anchor | Third-party estimate | Medium
SF-MCDOWELL | Jonathan McDowell Starlink dimensions/FCC summary | https://planet4589.org/astro/starsim/index.html | V2 Mini solar array size listed as 4.1 m x 12.8 m. | V2 Mini solar array area estimate | Third-party/FCC-derived | Medium
SF-LAZARD | Lazard LCOE+ 2025 | https://www.lazard.com/research-insights/levelized-cost-of-energyplus-lcoeplus/ | Compares LCOE of onshore wind, utility-scale solar and hybrid projects to marginal cost of conventional generation. | Existing proxies and hybrid cross-checks | Benchmark source | Medium
SF-EIA | EIA AEO 2026 LCOE | https://www.eia.gov/outlooks/aeo/electricity_generation/ | LCOE is revenue required to build and operate a generator over a cost recovery period. | New-build conventional benchmark context | Direct quote | High
SF-ATB-PVBESS | NREL ATB 2024b PV+Battery | https://atb.nrel.gov/electricity/2024b/data | Utility-Scale PV-Plus-Battery Class 1 LCOE benchmark rows retained only as cross-check. | PV+BESS benchmark, not driver | Direct dataset | High
SF-IRENA/IEA | IRENA/IEA China solar context | https://www.irena.org/Digital-Report/Renewable-Power-Generation-Costs-in-2024 | In China, utility-scale solar PV LCOE fell to USD 0.033/kWh in 2024; China comparison is separate. | China solar+BESS comparison | External benchmark | Medium
SF-SUNLIGHT | Local Sunlight_Analysis.html | C:/Users/User/Documents/Web Scripts/Orbital Datacenters/Sunlight_Analysis.html | wh += SOLAR_INPUT_W_M2 * access * incidence * transmittance * dtHours | Cross-check of user energy geometry | Local model source | Medium

## Assumption Audit
Assumption Audit
Cell | Assumption | Year | Value | Unit | Fact ID(s) | Short Quote / Row Excerpt | Rationale | Derivation | Confidence | Formula
I10 | Arizona Ground Incident Solar Resource | 2026 | 6.52 | kWh/m2/day | SF-USER-GROUND | change the winter number to 6.52 kWh/m2/day | User-provided revised winter incident resource before efficiencies. | User-provided | High
K10 | Arizona Ground Incident Solar Resource | 2036 | 6.52 | kWh/m2/day | SF-USER-GROUND | change the winter number to 6.52 kWh/m2/day | User-provided revised winter incident resource before efficiencies. | User-provided | High
M10 | Arizona Ground Incident Solar Resource | 2051 | 6.52 | kWh/m2/day | SF-USER-GROUND | change the winter number to 6.52 kWh/m2/day | User-provided revised winter incident resource before efficiencies. | User-provided | High
I11 | SSO Incident Solar Resource | 2026 | 32.66 | kWh/m2/day | SF-USER-SSO | for the SSO it should be 32.66 kWh/m^2/day | User-confirmed SSO incident resource before efficiencies. | User-provided | High
K11 | SSO Incident Solar Resource | 2036 | 32.66 | kWh/m2/day | SF-USER-SSO | for the SSO it should be 32.66 kWh/m^2/day | User-confirmed SSO incident resource before efficiencies. | User-provided | High
M11 | SSO Incident Solar Resource | 2051 | 32.66 | kWh/m2/day | SF-USER-SSO | for the SSO it should be 32.66 kWh/m^2/day | User-confirmed SSO incident resource before efficiencies. | User-provided | High
Model Detail!C6 | Solar Power Advantage | 2026 | 5.0092 | x | SF-DERIVED-ADVANTAGE | 32.66 / 6.52 = 5.009x | Current SSO/ground resource ratio after revised winter resource. | =SSO incident / ground incident | High | =Model Detail!C7 / Model Detail!C5
Model Detail!D6 | Solar Power Advantage | 2036 | 5.0092 | x | SF-DERIVED-ADVANTAGE | 32.66 / 6.52 = 5.009x | Current SSO/ground resource ratio after revised winter resource. | =SSO incident / ground incident | High | =Model Detail!D7 / Model Detail!D5
Model Detail!E6 | Solar Power Advantage | 2051 | 5.0092 | x | SF-DERIVED-ADVANTAGE | 32.66 / 6.52 = 5.009x | Current SSO/ground resource ratio after revised winter resource. | =SSO incident / ground incident | High | =Model Detail!E7 / Model Detail!E5
I12 | Ground Weather / Environment Factor | 2026 | 0.9 | x | SF-USER-ENV-FACTOR | user defined weather/environment degradation factor for weather/dust/wind etc. | User-defined weather, dust, wind, and site-loss factor. | User-defined model input | Medium
K12 | Ground Weather / Environment Factor | 2036 | 0.9 | x | SF-USER-ENV-FACTOR | user defined weather/environment degradation factor for weather/dust/wind etc. | User-defined weather, dust, wind, and site-loss factor. | User-defined model input | Medium
M12 | Ground Weather / Environment Factor | 2051 | 0.9 | x | SF-USER-ENV-FACTOR | user defined weather/environment degradation factor for weather/dust/wind etc. | User-defined weather, dust, wind, and site-loss factor. | User-defined model input | Medium
I13 | Firm Solar Battery Duration | 2026 | 14.4 | hours | SF-USER-FIRM-STORAGE; SF-SUNLIGHT | solar + batteries should handle consistent power by itself ¦ wh += SOLAR_INPUT_W_M2 * access * incidence * transmittance * dtHours | Daily-shift storage for 24/7 constant solar+BESS output. | =24 - (40% winter solar collection window * 24) | Medium
K13 | Firm Solar Battery Duration | 2036 | 14.4 | hours | SF-USER-FIRM-STORAGE; SF-SUNLIGHT | solar + batteries should handle consistent power by itself ¦ wh += SOLAR_INPUT_W_M2 * access * incidence * transmittance * dtHours | Daily-shift storage for 24/7 constant solar+BESS output. | =24 - (40% winter solar collection window * 24) | Medium
M13 | Firm Solar Battery Duration | 2051 | 14.4 | hours | SF-USER-FIRM-STORAGE; SF-SUNLIGHT | solar + batteries should handle consistent power by itself ¦ wh += SOLAR_INPUT_W_M2 * access * incidence * transmittance * dtHours | Daily-shift storage for 24/7 constant solar+BESS output. | =24 - (40% winter solar collection window * 24) | Medium
I14 | Space Array Hardware Cost | 2026 | 330 | $/m2 | SF-USER-SPACE-COST; SF-SPACEX; SF-NSE; SF-MCDOWELL | Key Assumptions... Space Array Hardware Cost ¦ V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. ¦ V2 Mini manufacturing costs have been driven toward approximately $400,000 per unit. ¦ V2 Mini solar array size listed as 4.1 m x 12.8 m. | User-defined best-case array hardware cost, with SpaceX/Starlink context retained. | User-defined model input | Medium
K14 | Space Array Hardware Cost | 2036 | 225 | $/m2 | SF-USER-SPACE-COST; SF-SPACEX; SF-NSE; SF-MCDOWELL | Key Assumptions... Space Array Hardware Cost ¦ V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. ¦ V2 Mini manufacturing costs have been driven toward approximately $400,000 per unit. ¦ V2 Mini solar array size listed as 4.1 m x 12.8 m. | User-defined best-case array hardware cost, with SpaceX/Starlink context retained. | User-defined model input | Medium
M14 | Space Array Hardware Cost | 2051 | 214 | $/m2 | SF-USER-SPACE-COST; SF-SPACEX; SF-NSE; SF-MCDOWELL | Key Assumptions... Space Array Hardware Cost ¦ V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. ¦ V2 Mini manufacturing costs have been driven toward approximately $400,000 per unit. ¦ V2 Mini solar array size listed as 4.1 m x 12.8 m. | User-defined best-case array hardware cost, with SpaceX/Starlink context retained. | User-defined model input | Medium
I15 | Space Panel Useful Life | 2026 | 5 | years | SF-USER-SPACE-LIFE; SF-SPACEX | Key Assumptions... Space Useful life at each year ¦ V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. | User-defined useful life constrained by refresh/deorbit horizon. | User-defined model input | High
K15 | Space Panel Useful Life | 2036 | 30 | years | SF-USER-SPACE-LIFE; SF-SPACEX | Key Assumptions... Space Useful life at each year ¦ V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. | User-defined useful life constrained by refresh/deorbit horizon. | User-defined model input | High
M15 | Space Panel Useful Life | 2051 | 30 | years | SF-USER-SPACE-LIFE; SF-SPACEX | Key Assumptions... Space Useful life at each year ¦ V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. | User-defined useful life constrained by refresh/deorbit horizon. | User-defined model input | High
I16 | Space Battery Req. | 2026 | 0 | kWh/kW | SF-USER-SPACE-BATTERY | user define Space battery req. as zero | User-defined SSO base case assumes no battery. | User-defined model input | High
K16 | Space Battery Req. | 2036 | 0 | kWh/kW | SF-USER-SPACE-BATTERY | user define Space battery req. as zero | User-defined SSO base case assumes no battery. | User-defined model input | High
M16 | Space Battery Req. | 2051 | 0 | kWh/kW | SF-USER-SPACE-BATTERY | user define Space battery req. as zero | User-defined SSO base case assumes no battery. | User-defined model input | High
I22 | Source Projection Year | 2026 | 2026 | year | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Projection endpoint used for each column. | Direct/derived year label | High
K22 | Source Projection Year | 2036 | 2036 | year | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Projection endpoint used for each column. | Direct/derived year label | High
M22 | Source Projection Year | 2051 | 2050 | year | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Projection endpoint used for each column. | Direct/derived year label | High
I23 | Ground PV Installed System Cost | 2026 | 220.1446 | $/m2 | SF-ATB-PV; SF-DOE-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. ¦ Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. | Converts ATB $/kWac to area basis using ILR and STC efficiency. | =ATB CAPEX $/kWac / (ILR / STC efficiency) | High | ='Model Detail'!C12
K23 | Ground PV Installed System Cost | 2036 | 170.9712 | $/m2 | SF-ATB-PV; SF-DOE-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. ¦ Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. | Converts ATB $/kWac to area basis using ILR and STC efficiency. | =ATB CAPEX $/kWac / (ILR / STC efficiency) | High | ='Model Detail'!D12
M23 | Ground PV Installed System Cost | 2051 | 142.6948 | $/m2 | SF-ATB-PV; SF-DOE-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. ¦ Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. | Converts ATB $/kWac to area basis using ILR and STC efficiency. | =ATB CAPEX $/kWac / (ILR / STC efficiency) | High | ='Model Detail'!E12
I24 | Ground PV Fixed O&M | 2026 | 3.1354 | $/m2-yr | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Converts ATB $/kWac-yr to area basis. | =ATB FOM $/kWac-yr / area per kWac | High | ='Model Detail'!C14
K24 | Ground PV Fixed O&M | 2036 | 2.8851 | $/m2-yr | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Converts ATB $/kWac-yr to area basis. | =ATB FOM $/kWac-yr / area per kWac | High | ='Model Detail'!D14
M24 | Ground PV Fixed O&M | 2051 | 2.6671 | $/m2-yr | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Converts ATB $/kWac-yr to area basis. | =ATB FOM $/kWac-yr / area per kWac | High | ='Model Detail'!E14
I25 | Ground PV STC Module Efficiency | 2026 | 0.206 | % | SF-DOE-PV; SF-ATB-PV | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. ¦ ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | 2026 direct DOE benchmark; future is analyst estimate from ATB improvement path. | Direct for 2026; analyst for future | Medium
K25 | Ground PV STC Module Efficiency | 2036 | 0.26 | % | SF-DOE-PV; SF-ATB-PV | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. ¦ ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | 2026 direct DOE benchmark; future is analyst estimate from ATB improvement path. | Direct for 2026; analyst for future | Medium
M25 | Ground PV STC Module Efficiency | 2051 | 0.28 | % | SF-DOE-PV; SF-ATB-PV | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. ¦ ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | 2026 direct DOE benchmark; future is analyst estimate from ATB improvement path. | Direct for 2026; analyst for future | Medium
I26 | Ground Panel Effective Efficiency @ 55C | 2026 | 0.18746 | % | SF-DOE-PV; SF-ATB-PV | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. ¦ ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Applies explicit hot-operation derate to STC efficiency. | =STC efficiency * temperature derate | Medium | =I25*I27
K26 | Ground Panel Effective Efficiency @ 55C | 2036 | 0.2366 | % | SF-DOE-PV; SF-ATB-PV | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. ¦ ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Applies explicit hot-operation derate to STC efficiency. | =STC efficiency * temperature derate | Medium | =K25*K27
M26 | Ground Panel Effective Efficiency @ 55C | 2051 | 0.2548 | % | SF-DOE-PV; SF-ATB-PV | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. ¦ ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Applies explicit hot-operation derate to STC efficiency. | =STC efficiency * temperature derate | Medium | =M25*M27
I27 | Ground Temperature Derate Factor | 2026 | 0.91 | x | SF-DOE-PV; SF-ATB-PV | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. ¦ ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Explicit hot Arizona temperature derate. | Analyst estimate | Medium
K27 | Ground Temperature Derate Factor | 2036 | 0.91 | x | SF-DOE-PV; SF-ATB-PV | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. ¦ ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Explicit hot Arizona temperature derate. | Analyst estimate | Medium
M27 | Ground Temperature Derate Factor | 2051 | 0.91 | x | SF-DOE-PV; SF-ATB-PV | Each module has area 2.57 m2 and rated power 530 watts, corresponding to 20.6%. ¦ ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | Explicit hot Arizona temperature derate. | Analyst estimate | Medium
I28 | Ground Panel Degradation | 2026 | 0.007 | %/yr | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | ATB degradation rates. | Direct/ATB pathway | High
K28 | Ground Panel Degradation | 2036 | 0.005 | %/yr | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | ATB degradation rates. | Direct/ATB pathway | High
M28 | Ground Panel Degradation | 2051 | 0.002 | %/yr | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | ATB degradation rates. | Direct/ATB pathway | High
I29 | Ground PV Fixed Charge Rate | 2026 | 0.056638 | %/yr | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | ATB R&D 30-year FCR. | Direct dataset | High
K29 | Ground PV Fixed Charge Rate | 2036 | 0.056638 | %/yr | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | ATB R&D 30-year FCR. | Direct dataset | High
M29 | Ground PV Fixed Charge Rate | 2051 | 0.056638 | %/yr | SF-ATB-PV | ATB uses $/kWAC and ILR of 1.34; degradation rates include 0.7%, 0.5%, 0.2%. | ATB R&D 30-year FCR. | Direct dataset | High
I30 | 4h Battery CAPEX Reference | 2026 | 1659.3941 | $/kW | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB 4-hour BESS CAPEX reference for scalable storage cost. | Direct dataset | High
K30 | 4h Battery CAPEX Reference | 2036 | 1326.6147 | $/kW | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB 4-hour BESS CAPEX reference for scalable storage cost. | Direct dataset | High
M30 | 4h Battery CAPEX Reference | 2051 | 1035.7717 | $/kW | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB 4-hour BESS CAPEX reference for scalable storage cost. | Direct dataset | High
I31 | 4h Battery Capital Fixed Cost Reference | 2026 | 58.4982 | $/kW-yr | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB 4-hour BESS capital fixed cost reference; firm case scales by duration. | Direct dataset | High
K31 | 4h Battery Capital Fixed Cost Reference | 2036 | 46.7668 | $/kW-yr | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB 4-hour BESS capital fixed cost reference; firm case scales by duration. | Direct dataset | High
M31 | 4h Battery Capital Fixed Cost Reference | 2051 | 36.5138 | $/kW-yr | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB 4-hour BESS capital fixed cost reference; firm case scales by duration. | Direct dataset | High
I32 | 4h Battery Fixed O&M Reference | 2026 | 37.5224 | $/kW-yr | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB 4-hour BESS fixed O&M reference; firm case scales by duration. | Direct dataset | High
K32 | 4h Battery Fixed O&M Reference | 2036 | 29.4962 | $/kW-yr | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB 4-hour BESS fixed O&M reference; firm case scales by duration. | Direct dataset | High
M32 | 4h Battery Fixed O&M Reference | 2051 | 22.4814 | $/kW-yr | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB 4-hour BESS fixed O&M reference; firm case scales by duration. | Direct dataset | High
I33 | Ground Battery Round-trip Efficiency | 2026 | 0.85 | % | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB representative RTE. | Direct quote | High
K33 | Ground Battery Round-trip Efficiency | 2036 | 0.85 | % | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB representative RTE. | Direct quote | High
M33 | Ground Battery Round-trip Efficiency | 2051 | 0.85 | % | SF-ATB-BESS | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. | ATB representative RTE. | Direct quote | High
I34 | Space Panel Density | 2026 | 2.3 | kg/m2 | SF-NASA-POWER; SF-MCDOWELL | Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. ¦ V2 Mini solar array size listed as 4.1 m x 12.8 m. | Best-case lightweight array density, checked against specific-power context. | Analyst estimate | Medium
K34 | Space Panel Density | 2036 | 2 | kg/m2 | SF-NASA-POWER; SF-MCDOWELL | Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. ¦ V2 Mini solar array size listed as 4.1 m x 12.8 m. | Best-case lightweight array density, checked against specific-power context. | Analyst estimate | Medium
M34 | Space Panel Density | 2051 | 1.8 | kg/m2 | SF-NASA-POWER; SF-MCDOWELL | Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. ¦ V2 Mini solar array size listed as 4.1 m x 12.8 m. | Best-case lightweight array density, checked against specific-power context. | Analyst estimate | Medium
I35 | Space Panel Net Efficiency @ 95C | 2026 | 0.21 | % | SF-SPACE-EFFICIENCY; SF-NASA-POWER | lower efficiency for the space panels since SpaceX mass produces these ¦ Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. | Lowered for mass-produced, cost-optimized SpaceX arrays operating hot in LEO. | Analyst estimate | Medium
K35 | Space Panel Net Efficiency @ 95C | 2036 | 0.24 | % | SF-SPACE-EFFICIENCY; SF-NASA-POWER | lower efficiency for the space panels since SpaceX mass produces these ¦ Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. | Lowered for mass-produced, cost-optimized SpaceX arrays operating hot in LEO. | Analyst estimate | Medium
M35 | Space Panel Net Efficiency @ 95C | 2051 | 0.26 | % | SF-SPACE-EFFICIENCY; SF-NASA-POWER | lower efficiency for the space panels since SpaceX mass produces these ¦ Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. | Lowered for mass-produced, cost-optimized SpaceX arrays operating hot in LEO. | Analyst estimate | Medium
I36 | Space Panel Degradation | 2026 | 0.015 | %/yr | SF-NASA-POWER; SF-SPACEX | Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. ¦ V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. | Short-life LEO power hardware estimate. | Analyst estimate | Medium
K36 | Space Panel Degradation | 2036 | 0.01 | %/yr | SF-NASA-POWER; SF-SPACEX | Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. ¦ V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. | Short-life LEO power hardware estimate. | Analyst estimate | Medium
M36 | Space Panel Degradation | 2051 | 0.007 | %/yr | SF-NASA-POWER; SF-SPACEX | Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. ¦ V2 Mini has four times the capacity; satellites are deorbited within weeks of end of mission. | Short-life LEO power hardware estimate. | Analyst estimate | Medium
I37 | Space Battery Storage Cost | 2026 | 200 | $/kWh | SF-ATB-BESS; SF-NASA-POWER | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. ¦ Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. | Unused placeholder while req is zero. | Analyst estimate | Low
K37 | Space Battery Storage Cost | 2036 | 110 | $/kWh | SF-ATB-BESS; SF-NASA-POWER | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. ¦ Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. | Unused placeholder while req is zero. | Analyst estimate | Low
M37 | Space Battery Storage Cost | 2051 | 80 | $/kWh | SF-ATB-BESS; SF-NASA-POWER | A 4-hour device has expected capacity factor 16.7%; ATB assumes round-trip efficiency of 85%. ¦ Space solar arrays seek lower cost and higher production; cells over 32% have higher cost than terrestrial silicon. | Unused placeholder while req is zero. | Analyst estimate | Low